## Tuya vs Shelly
Q11 portable EV charger: Tuya WBR3 module vs Shelly X module — confirmed facts
AMPERE POINT · Dawid Cekała · 01.10.2026 · Shelly: DevKit M1, firmware 2.0.0-beta11, our service v4.3.1 · tests 29.09–01.10 without cloud and without internet, EV simulator
✔ yes / works ◐ partly / with limitation ✘ no ? not tested
Function | Q11 with Tuya WBR3 | Q11 with Shelly X | Confirmed by
Control and apps
Mobile app, with internet | ✔ Tuya Smart / Smart Life via Tuya cloud | ✔ Shelly Smart Control via Shelly cloud | use; B1 control test
Mobile app on the LAN without cloud | ✘ app needs Tuya cloud | ✘ app shows offline; it only probes the device locally | B1
Local web page on the charger | ✘ none | ◐ yes, no login; default screen shows 6 of 15 fields, phases as "N/A A" | B2
Local API | ◐ no official API; unofficial local protocol with device key (tuya_local in Home Assistant) | ✔ HTTP and WebSocket JSON-RPC, documented; read 40–150 ms, write confirmed by controller in 1–2 s | B7, C4
MQTT | ✘ | ✔ commands and events through a local broker (also without internet) and through an internet broker (public test broker: command and reply in ~1.1 s) | C4, 01.10
Push to own server | ✘ only via Tuya cloud API | ✔ outbound WebSocket (reconnect ≤ ~60 s) and webhooks on state / limit / switch changes (~1 s) | B5, B8
OCPP 1.6J | ✘ | ◐ no OCPP client in the module; our bridge (on a PC/server, uses the local API) works: registration, status, meter values every 30 s, current limit from the OCPP server, full transaction start/stop; also without internet (OCPP server on the LAN). OCPP server on the internet not tested | 25.09, 01.10
Home Assistant | ◐ official Tuya integration and our custom integration, both via Tuya cloud | ◐ official Shelly integration is local, but for our product shows only 12 phase sensors (EV controls are enabled only for TopAC EVE01); with our patch 33 entities, full local control | B3
Works without internet | ✘ app and remote control lost; charger menu only | ✔ web page, API, MQTT, Home Assistant, schedules and webhooks work; time from a LAN time server | C2–C9
Charging control (same charger controller)
Start / stop charging (switch) | ✔ from the app | ◐ start ✔; stop refused by the controller in 3 of 6 tests, cause open | B3c, 30.09
Current limit 6–16 A | ✔ | ✔ confirmed in 1–2 s, value shown on the charger display | C2
Mode: now / energy / time window | ✔ | ✔ | B3c
Energy limit per session (1–200 kWh) | ✔ | ✔ | B3c
Time window for one session (full hours) | ✔ | ✔ controller starts and stops on module time (22:00:03 start, 23:00:03 stop) | C6
Delay and duration from the charger menu | ◐ works; wrong values shown when set in state C | ◐ same; the module does not see the setting | 30.09
Phase voltage / current / power | ◐ sent by controller, not shown in Tuya app | ✔ web page, Home Assistant, Shelly app | B2, B3
Charging state, CP signal, temperature, faults, controller version | ◐ sent by controller; app shows state | ✔ all as fields; version "V1" reported after power-on | B3, 30.09
Session energy and time | ◐ last-session energy only; live value calculated in Home Assistant | ✔ calculated in the module (lost at power loss) | B3, 04
Automation
Schedules | ◐ in Tuya cloud (ran with the phone offline) | ✔ in the module, to the second, also without internet; ✘ after power loss without a time source they run on a stale clock | B4, C7, 04
Scenes / automations | ✔ Tuya cloud scenes (time, weather, devices) | ◐ webhooks and scripts in the module; scenes in Shelly cloud | B5
Own logic in the device | ✘ | ✔ JavaScript service in the module (our translator runs there) | B, C
Reliability
Module restart while charging | ? | ✔ charging not interrupted (5 restarts, ~30 s each) | C9
After power loss | ? (controller loses time window and menu delay with both modules) | ✔ module restores all its settings, writes nothing to the controller at boot; charging resumes by itself; current limit kept | 04, C8
Link to the charger controller (Tuya MCU protocol, UART 9600) | ✔ native | ◐ works; once stuck > 3 min after reboot, retries can reorder commands, unchanged replies not reported | B3c, B12, 30.09
Network icon on the charger display | ✔ real state | ✘ always "cloud connected"; icon blinks | C5
Wi-Fi reset from charger menu, controller update via module | ✔ | ? not tested
Memory
Flash / RAM | 2 MB / 256 kB | 8 MB (two 3 MB program copies, 896 kB file system) / 400 kB (117 kB free after boot) | datasheet, backup
Stored in the module | ◐ Wi-Fi and device keys; product definition, schedules and scenes in Tuya cloud | ✔ product definition, service script, schedules, webhooks, key-value store, web page; all survive power loss | 04
Saving changed settings | n/a | ◐ at most every ~3 s; changes from the last ~3 s are lost at power loss | 04
Security and updates
Local access protection | ◐ local protocol needs the device key | ✘ no password by default (password option exists) | B2, B12
Configuration backup | ✘ | ◐ available; unencrypted, includes Wi-Fi password | B10
Updates | ✔ module and controller via Tuya / factory | ✔ service uploaded by us, Wi-Fi kept; controller update via module not tested | 29.09